This electrical installation uses a Cable Type: Copper Power Cable designed for industrial environments.
The Voltage Rating: 450/750V is clearly marked on the outer layer, while the Current Rating: 32A supports medium-load applications.
For safety and durability, the Insulation Type: PVC is applied around each core, and the Number of Conductors: 3 cores allows three-phase operation.
The external protection includes a Sheath / Jacket: PVC, combined with Armor: Steel Wire Armor (SWA) to resist mechanical damage.

Temperature tolerance is specified as Operating Temperature: −5°C to 70°C, ensuring stable performance under normal conditions.
Electrical quality is maintained with an Insulation Resistance: ≥ 20 MΩ.km @ 20°C.
The conductor dimensions are defined as Conductor Size: 6 mm², suitable for the stated current rating.

Random OCR noise: @@@ ## 9xZ! lI|1 O0o ?%$ — unreadable t3xt // end-test.